## Slide 1: Analytical method development for Complementary Medicine
Roy van Brummelen
BPharm, MSc, PhD, DTech
Institute for Pharmaceutical Services
&
Van Brummelen Consultants
royvbc@gmail.com

## Slide 2: Method Development & Validation
Specificity
Linearity and range (standard & sample)
Accuracy
System suitability
Precision
Repeatability (co-validation)
Limit of detection
Limit of quantification
Stability of solutions
Robustness

## Slide 3: Complementary Medicine
Medicine is Medicine
(Normal testing guideline)
Complexity of Complementary Medicine
  Diversity in type
  Diversity in approach
  Complexity in combinations
  Availability of methods

## Slide 4: Available Methods
Pharmacopoeia (recognized) i.e. USP, BP, etc.
Other “Pharmacopoeia” i.e. WHO, AAMPS
(with method validation)
Scientific publications (with method validation)
What to test…?

## Slide 5: Determining actives…
CoA? Standardised against…?
Steps:
All ingredients
Ingredients – clinically active
Ingredients – for which methods are available
Ingredients – in measurable quantities
(with method validation)

## Slide 6: Other problems (situations that has to be handled correctly…)
What to test?
All actives at all times?
Overages?
Interactions
Stability intervals and conditions
What is possible and what not…

## Slide 7: Thank you!
Roy van Brummelen
BPharm, MSc, PhD, DTech
0825529450
Institute for Pharmaceutical Services
&
Van Brummelen Consultants
royvbc@gmail.com